Preparation of Agar Plates for Bacterial Growth

For 500mL of LB Agar:

1. Weigh out into a 1L Erlenmeyer

- 5g NaCl

- 5g Tryptone

- 2.5g Yeast Extract

- 7.5g Agar

- Add dH2O to 500mL

**If lab has pre-mixed LB Agar powder, use suggested amount instead of other dry ingredients above.

2. Swirl to mix. The contents do not have to be completely in solution, but any powder on the sides of glass will caramelize onto the glass during autoclaving.

3. Cover top of glass with aluminum foil and label with autoclave tape.

4. Autoclave for liquid setting for 20 min. (or whatever your autoclave's specifications).

5. After removing from autoclave, allow agar solution to cool to 55°C.

-You can place into 55°C water bath as this will hold temp and can be left 	unattended.

6. When pouring plates, keep bench area sterile by working near a flame or Bunsen burner.

7.  Add appropriate amount of antibiotic to solution (500uL for 1000X antibiotic stock) and swirl to mix.

8. Pour ~20mL of LB Agar to each 10cm polystyrene Petri dish.

- Pour slowly from the flask to the center of the petri dish. When the agar has 	spread to cover 2/3 of the dish stop pouring and the agar should spread to cover 	entire plate. You may need to tilt plate slightly to get to spread completely. If you 	pour too much on the plate it will be fine but will limit # of plates.

- If  bubbles form these can be removed by passing flame of inverted Bunsen 	burner over surface of plate. DON'T MELT PETRI DISH.

9. Place lids on plates and allow to cool for 30-60 min., then invert plates (flip upside down). Let sit overnight.

10. Label bottom of plates w/ antibiotic and date and store in plastic bags or seal w/ parafilm at 4°C.

Antibiotic Concentrations

| Ampicillin | 100ug/mL |
| --- | --- |
| Bleocin | 5ug/mL |
| Carbenicillin | 100ug/mL |
| Chloramphenicol | 25ug/mL |
| Coumermycin | 25ug/mL |
| Gentamycin | 10ug/mL |
| Kanamycin | 50ug/mL |
| Spectinomycin | 50ug/mL |
| Tetracycline | 10ug/mL |