Preparation of cell proteomes:

- Aspirate cell media.

- Wash 2X with warm PBS

  - For HEK293T cells, wash off cells in the first PBS wash, centrifuge at 400 x g for 5 min to pellet and resuspend pellet again in PBS for 2X total washes.

  - For suspension cells: use a serological pipette to pull up media with cells and wash the bottom of T-flasks briefly and transfer to conical tubes. Centrifuge at 400 x g for 5 min to pellet and resuspend pellet again in PBS for 2X total washes.

- Re-suspend in minimal volume for lysing:

  - 1X 6 cm plate = resuspend cell pellet in 200 µL

  - 1X 10 cm plate = resuspend cell pellet in 500 µL

  - 1X 15 cm plate = resuspend cell pellet in 700 µL

*scale for multiple plates based on the ratios above.

- Lyse cells by sonication at 20% amplitude using the small tip on sonicator (please validate that you are using the small tip). 3 pulses for 1 second each is sufficient for cell lysis.

**Note: If you are preparing samples for detection of kinases with ATP acyl 	phosphate probe, use kinase buffer to lyse cell pellets.

Kinase Buffer: PBS + Protease Inhibitor + 20mM MgCl2

- If you are separating membrane and soluble fractions, transfer lysates to ultracentrifuge tube and counterbalance to 0.01 grams (if you only have 1 sample, counterbalance with water in another ultracentrifuge tube).

- Centrifuge at 100,000 x g for 45 min at 4 °C.

*the rotor will be kept in the ultracentrifuge tube at all times to avoid damage to spindle from constant removal/install. Please turn on ultracentrifuge 30 min prior to use, seal the door, and cool the rotor to 4 °C before use. The high centrifugal force generates heat, which can denature enzymes in your sample.

- Carefully remove supernatant into a standard 1.5 mL microfuge tube.

*please label both tubes with detail: date, cell line or tissue, mem or sol. If these proteomes are from treated cells, please also include the treatment conditions (e.g. DMSO or X µM of compound and treatment time).

*resuspend membrane pellet using equivalent volume of PBS (amount used for initial lysis) and sonicating at 20% amplitude (2-3X 1 second pulses should be sufficient).

- Take protein concentration of samples on the nanodrop or our Clariostar plate reader. Protein concentrations of 1-10 mg/mL are acceptable. If concentrations are > 10 mg/mL, please dilute 1:5 and retake [protein] to validate concentrations.

- Samples are ready for ABPP analysis or can be frozen in -80 °C freezer for analysis later.

* in general, freeze-thaw cycles will compromise enzyme activity. If you have a sensitive enzyme, please plan your experiments accordingly.

ABPP analysis:

*when measuring inhibitor dry stocks for DMSO solutions, do not try to measure less than 2 mg of compound. The error from measuring small amounts of compound can drastically affect the final concentrations tested in your assay.

- Dilute proteomes to 2 mg/mL in kinase buffer for ATP acyl phosphate probe-labeled samples. The reaction volume is 30 µL final. Please leave volume for ABPP probe (0.6 µL of 50X stock) and/or compound pretreatments (0.6 µL of 50X stock). For example, the final volume would be 28.8 µL if you pretreat with compound followed by labeling with ABPP probe.

- Reactions are performed in 1.5 mL microfuge tubes. Please label tubes carefully.

*You can provide a number key for the samples but make sure to write this into you notebook.

- Add DMSO or compound, gently flick tube to mix, and incubate for 30 min at room temperature.

* For in vitro inhibition, I typically use 100 µM final for Ritanserin

- Add 0.6 µL of ABPP probe (0.5mM ATP acyl phosphate; 12.6ug resuspended in 20uL ultrapure water) to a final concentration of 10 µM and incubate for 30 min at room temperature.

- Quench with 10 µL of 4X SDS-PAGE loading buffer + βME and vortex tubes.

* βME in the 4X buffer can go bad at room temp or repeated freeze-thaws. Please be sure to store your 4X at -20 °C.

- Samples are ready for SDS-PAGE analysis and should be run immediately to avoid any excess reaction of ATP acyl phosphate probe.

Gel-loading: (Use 7.5% BioRad StainFree Midi Gels)

- Flush out each well with running buffer using the p200 pipette.

- Skip the first lane, load the MW marker (10 µL Bio-rad all blue standards), followed by a spacer (mouse brain proteomes at 1 mg/mL, no ABPP probe labeling, and quenched at a equivalent ratio with 4X SDS-PAGE loading buffer + βME).

- Load 15 µL for all samples. It is a good idea to frame your sample sets with the spacer at equivalent volumes. For example:

Lane:

- Skip

- MW marker (10 µL)

- Spacer (15 µL)

- Sample 1 (15 µL)

- Sample 2 (15 µL)

- Sample 3 (15 µL)

- Spacer (15 µL)

- Place lid on tank, aligning color-coded banana plugs with corresponding jacks on the lid. Gels are run at 150V for 60 min or until running front reaches bottom of cassette.

- Remove the gel cassette from the cell. Pull the two plates of the cassette CAREFULLY apart to expose the gel.

- Cut off, using clean razor, running front dye and loading wells. Remove gel from cassette and place in running buffer.

- Start ImageLab software and capture the stain-free gel image using the following settings:

- Multichannel Protocol

- Applications: (1) Stain-Free Gel  & (2) DyLight 650

8.	Remove gel from sample stage and keep wet in running buffer.

Western Transfer of Gel to Nitrocellulose Membrane

1. 	Prepare transfer buffer using 10X Bio-Rad Transfer Buffer stock.

2. 	Place 2 stacks and 1 membrane (per gel) in 1X transfer buffer and let soak.

3. 	Place one stack on base of transfer cassette. Place membrane on top of stack. 	Place gel carefully on membrane, ensuring all of gel will be captured. Roll out 	any bubbles using a roller. Place last stack on top of gel and roll out air.

4. 	Place lid on the cassette base and lock it.

5.	Start the transfer by selecting Manual, and change time to 10 min. Press run, 	select cassette of choice, then press Run to start.

6. 	When transfer is over, disassemble the blotting sandwich and place both the 	blot and the gel in a container with DI water.

Verify Transfer

1. 	Put the post-transfer gel on the sample stage of the ChemiDoc Gel Imager.

2. 	Start ImageLab software and capture the image using the following settings:

- Multichannel Protocol

- Applications : (1) Stain-Free Gel  & (2) DyLight 650

3.	Remove the gel from the sample stage and replace with blot. Image the blot with the following settings:

- Multichannel Protocol

- Applications : (1) Stain-Free Gel  & (2) DyLight 650

**Keep blot wet at all times. Do NOT let dry.

4. 	Remove the blotting membrane from the sample stage and place in small 	container with 1X TBS-T.

Antibody Incubation

1. 	Block membrane in 3% BSA in 1X TBS-T at room temperature for at least one 	hour with gentle shaking.

2.	Prepare Streptavidin fluorophore incubation mixture of 5% BSA, 0.1% 	Tween20, and 1:3000 Streptavidin DyLight 550 in 40mL of ultrapure water.

3.	Remove membrane from blocking solution and incubate for 2 hours in 	Streptavidin fluorophore mixture at room temperature with gentle shaking.

4.	Rinse blot 5X with 1X TBS-T for 5 min. each then place in ultrapure water.

5.	Image gel with the following filters:

  - Stain-Free Blot (Protein Analysis)

  - Dylight 650 (Bio-rad MW markers)

  - Dylight 549 (Streptavidin Fluorophore)