Hsu Lab Training Procedure (LC-MS)

Edited: 11/11/23

Expected Completion: May of second semester (4-6 months after start for postdocs/scientists)

Trainee (signature):

Trainer (signature):

Good laboratory practices:

- Maintain clean and neat lab work areas

- Wear gloves, safety glasses and closed-toe shoes

- Store all lab items in appropriately-labeled locations

- Keep only those items in near-term use on lab benchtops

- Label all sample, solvent and reagent containers with detailed contents description, date prepared or opened, and initials of the person who prepared the solution or opened the container

- Condition glassware with solvents and solutions for 2-3 days prior to use

- Record all instrument use, maintenance and observations in log books according to standard format

- Report unexpected instrument behavior or observations to a senior student, postdoc or advisor

- Lab cleanup and maintenance chores should be assigned and scheduled items signed when completed

Training schedule

Part 1

Read the following literature: https://utexas.box.com/s/l9f60eawhea4v8us9duy2bo5hmrgch3o

Please acknowledge you have read each document/powerpoint by initialing after the respective item below:

- 7_20_Overview_of_Broad_Proteomics_for_Newbies_and_Students_no_backups 3

- MSProteomics_Intro_Ross_Groupmeeting

- A researchers guide to MS proteomics_Savaryn_Kelleher-2016-PROTEOMICS

- Anatomy evolution database search engines_Verheggen-2017-Mass_Spectrometry_Reviews

- De novo sequencing_Ma_MCP_2012

- Definitions terms MS_IUPAC2013_Murray_PureApplChem_2013

- Fundamental_LC-MS_Electrospray_Ionisation_Instrumentation

- Fundamental_LC-MS_Electrospray_Ionisation_Theory

- Fundamental_LC-MS_Flow_Rates_and_Flow_Splitting

- Fundamental_LC-MS_Mass_Analysers

- Fundamental_LC-MS_Orbitrap_Mass_Analyzers

- Fundamental_LC-MS_Solvent_ buffers_and_additives

- Fundamental_LC-MS_Vacuum_Systems

- Fundamentals HPLC

- Fundamentals_of_MS_Proteomics-Reseach

- IonDissociationMethodsinProteomics_2015

- Lessons in de novo peptide sequencing_Medzihradszky_MSRev_2015

- Makarov_A_Orbitrap_Mass_Analyzer_-_Overview_and_Ap

- Mass spectrometry_Nature_Milestones_2015

- MS based proteomics_Aebersold_Mann_review_2003

- MS proteomics using QE_Michalski_Mann_Horning_MCP_Sep_2011

- MS_Interpretation_General_Interpretation_Strategies

- Orbitrap mass analyzer_Scigelova_Makarov_Orbitrap_Proteomics_2006

- Prolucid_Xu_Yates_JProteomics_2015

- Skyline review Pino_et_al-2017-Mass_Spectrometry_Reviews

- LCMS training_general information

Part 2

Day 1: Analytical column (AC) construction

Rob Mendez protocol: https://utexas.box.com/s/yq996gvaanm1csbnmc161roy0205lcad

Cut fused silica, prepare Kasil frit, pack column with C18 media, wash packed column

Senior member makes one column side by side by trainee; ~1-2 hours

Provide product/research literature and relevant information (UWPR, SIS, New Objective, AC paper)

Initial here after completion_____

Day 2: AC tip pulling (Robert’s protocol)

Senior member demonstrates; ~1 hour

Locate laser puller manual and logbook

Prepare several ACs with tips prior to AC evaluation

Initial here after completion_____

Day 3: AC conditioning and analysis

Load standard PRTC-spiked Hela peptide standard; run 5X samples on LC-MS

Senior member helps with set up of column and methods

Senior member demonstrates use of RawTools (1.3)

Initial here after completion_____

Part 2

Create a training folder with your name here to upload completed training material: https://utexas.box.com/s/wq2bghcye38oievus8s4a0uahk84s99o

Part 3

Peptide sequencing

BSA exercise: https://utexas.box.com/s/15hcztl57m495ak82qadschap35wnotp

De novo peptide sequencing: https://utexas.box.com/s/tkl3wxuskf50n68nsqpg54n31zxw7v93

Initial here after completion and upload to your training folder _____

Part 4

Drawing and calculating mass adducts from probe modification:

Part 5

Byonic training

* Software and training documents are already installed on workstation

* PC only; if you have Mac, you will need to use lab workstation

* Byonic viewer can be installed on personal PC to view searched data: https://utexas.box.com/s/xmhariwjdprd6ih0xvprrzfgoacndm35

Protein metrics tutorial: https://proteinmetrics.com/video-tutorial/byonic-tutorials/

Modifications: https://support.proteinmetrics.com/hc/en-us/articles/11607283600148-Byonic-Modification-Fine-Control

Dina Bai tutorial: https://utexas.box.com/s/6jtapqs606pn66gyzdrd3ja6iiqh8fj0

- Dataset 1: Hela digest

  - Raw data file: https://utexas.box.com/s/5kusscjkuq71rqkset2y0dlaqk4p4tcp

  - Completed analysis to reproduce: https://utexas.box.com/s/ixfc3f9xep52m9rtkpr4fgb0gbuef75n

  - Initial here after completion, review with senior member, and upload to your training folder _____

- Dataset 2: SuTEx probe-modified peptide mixture

  - Raw data file: https://utexas.box.com/s/tizwgedqt0rr40o3s69o4w7l92qeqrg2

  - Completed analysis to reproduce: https://utexas.box.com/s/0dnw7dsl7i57cwu2pyw8v8r8se3ie2tx

  - Initial here after completion, review with senior member, and upload to your training folder _____

- Dataset 3: AHL-Pu-1 probe-modified peptide mixture

  - Raw data file: https://utexas.box.com/s/i6mla708ceyjf6hw6hrv2iv3cwmcv577

  - Completed analysis to reproduce: https://utexas.box.com/s/lksvbtx58xq9ctxy03f1q782lldp8rkw

  - Initial here after completion, review with senior member, and upload to your training folder _____

Part 6

Proteome Discoverer (PD) training

* Software and training documents are already installed on workstation

* PC only; if you have Mac, you will need to use lab workstation

* Trial version can be downloaded to personal PC but search function will not be valid after 60 days: https://utexas.box.com/s/z7t0em2rmt0fuce4fvx90k0mb94a934w

Thermo Training (tutorial and hands on): https://utexas.box.com/s/c7thres08d9elrc795zq45wz8oreuedm

Kun Yuan/Michael Founds tutorial: https://utexas.box.com/s/fkbtmmesenem2as2magf1r1hw8nmlg1u

- Dataset 1: Hela digest

  - Raw data file: https://utexas.box.com/s/xwcaqif8xungd424js18q0c8er6tg013

  - Completed analysis to reproduce: https://utexas.box.com/s/xwcaqif8xungd424js18q0c8er6tg013

  - Initial here after completion, review with senior member, and upload to your training folder _____

- Dataset 2: SuTEx probe-modified peptide mixture

  - Raw data file: https://utexas.box.com/s/w5qpr2g9ru2t0k93ejgh1y0vxbxm1hw1

  - Completed analysis to reproduce: https://utexas.box.com/s/w5qpr2g9ru2t0k93ejgh1y0vxbxm1hw1

  - Initial here after completion, review with senior member, and upload to your training folder _____

- Dataset 3: Phosphoproteomics peptide mixture

  - Raw data file: https://utexas.box.com/s/uhty4eevjo3rideueub43zt8v0ytrlsk

  - Completed analysis to reproduce: https://utexas.box.com/s/vl1of5ehrekj5iusghiw3wkrlmklhfal

  - Initial here after completion, review with senior member, and upload to your training folder _____

Part 7

Hands on sample prep and chemical proteomic LC-MS - there are several types of analyses in the lab: site of binding, total proteome analysis (non-enriched), on-bead trypsin digestion, and phosphoproteomics. You should master all these types of analyses by the time you graduate. Initially prioritize your training based on your thesis project. Identify a senior lab member to guide you in the training.

- Site of binding (SuTEx, Purine, ATP acyl phosphate): https://hsulab.com/uploads/3/5/4/2/35421769/cc-abpp-lc_ms__probe_binding_site_detection_sutex_20220816_dlb.pdf

- Total proteome analysis (FASP): https://hsulab.com/uploads/3/5/4/2/35421769/fasp_protocol_-_with_stage_tips.docx

- On-bead trypsin digestion (FP-biotin, IP for PPIs): https://hsulab.com/uploads/3/5/4/2/35421769/cc-abpp-lc_mass_final_optimized_20200508.doc

- Phosphoproteomics (pSer/pThr; pervanadate + pTyr): https://utexas.box.com/s/x9zsg1s6v8mxxvfoniz14jeowx4wj8fz

Part 8

Lipidomics – this training is for individuals assigned to lipid projects. Individuals without lipid-focused projects can still use lipidomics to gain information on metabolic alterations from small molecule or genetic perturbations.

Lipidomics background: https://utexas.box.com/s/mbg6ebpmzed7r1ugwszhj12aopqx8tpq

Lipid extraction protocol: https://utexas.box.com/s/lnlfgnyenzklhzttdhq4rr4gye66fy9z

Tracefinder tutorial: https://utexas.box.com/s/qj5fc2nqwa94j5u9q6k0a4518lru06x5

LipidSearch tutorial: https://utexas.box.com/s/tes7f6ktpm1vznthzv5sra5t32oo6x58

Lipidomics resources: https://utexas.box.com/s/mx5llojlppzruwjt89m7x62hk13i11tt

Part 9

Upload this completed and signed training document to your training folder.