*all solvents and H2O should be HPLC grade (Fisher sells this grade as Optima label).

*lipid solutions should be stored in amber vials to minimize degradation from light.

Cell sample extraction (Folch)

1.Prepare 2:1 chloroform/methanol solution with BHT (50 µg/mL). Make BHT stock in MeOH and add appropriate amount of CHCl3 to make 2:1 solution.

2.Prepare 14 standards doped into 2:1 CHCl3/MeOH solution in separate dram vial (1mL per sample). Concentration of each standard should be 10 pmol / 3 mL final. I recommend making a 100X stock of all 14 standards and add once to extraction mix.

*For example, if you have 3 samples, you need to make 12 mL of 2:1 CHCl3/MeOH (3 samples + 1 extra). Next, you will add 120 µL of 100X lipid stock (containing all 14 stds at 1000 pmol / 3 mL concentration) to extraction mix.

3. Add 3 mL of (2) to each 6 mL dram vial.

4. Re-suspend cell samples in 1 mL HPLC grade water and add immediately to each dram vial containing 3 mL of 2:1 CHCl3/MeOH solution.

*samples should be kept frozen in liquid N2 until just before addition of extraction solvent.

5. Vortex samples to extract lipids and place on ice for 20 minutes.

6. Centrifuge sample vials at 2,000 x g for 5 minutes.

7. You will see that phases are separated and protein disk is at the interface.

8. Transfer bottom organic layer using Pasteur pipette into a new set of dram vials.

9. Add an additional 1.6 mL of 2:1 CHCl3/MeOH solution to each original vial and vortex.

10. Centrifuge vials at 2,000 x g for 5 minutes, re-extract, and combine organic layers.

11.Dry organic layers under nitrogen gas and re-suspend lipids in 120 µL 1:1 Isopropanol/MeOH

Cell sample extraction (Bligh Dyer)

1.Prepare 1:2 chloroform/methanol solution with BHT (50 µg/mL). Make BHT stock in MeOH and add appropriate amount of CHCl3 to make 1:2 solution.

2.Prepare 14 standards doped into 1:2 CHCl3/MeOH solution in separate dram vial (1mL per sample). Concentration of each standard should be 10 pmol / 3 mL final. I recommend making a 100X stock of all 14 standards and add once to extraction mix.

*For example, if you have 3 samples, you need to make 12 mL of 1:2 CHCl3/MeOH (3 samples + 1 extra). Next, you will add 120 µL of 100X lipid stock (containing all 14 stds at 1000 pmol / 3 mL concentration) to extraction mix.

3. Add 3 mL of (2) to each 6 mL dram vial.

4. Re-suspend cell samples in 1 mL HPLC grade water and add immediately to each dram vial containing 3 mL of 1:2 CHCl3/MeOH solution.

*samples should be kept frozen in liquid N2 until just before addition of extraction solvent.

5. Vortex samples to extract lipids and place on ice for 20 minutes.

6. Centrifuge sample vials at 2,000 x g for 5 minutes.

7. You will see that phases are separated and protein disk is at the interface.

8. Transfer bottom organic layer using Pasteur pipette into a new set of dram vials.

9. Add an additional 1.6 mL of 1:2 CHCl3/MeOH solution to each original vial and vortex.

10. Centrifuge vials at 2,000 x g for 5 minutes, re-extract, and combine organic layers.

11. Dry organic layers under nitrogen gas and re-suspend lipids in 120 µL 1:1 Isopropanol/MeOH

Tissue sample extraction

1.Prepare 2:1 chloroform/methanol solution with BHT (50 µg/mL). Make BHT stock in MeOH and add appropriate amount of CHCl3 to make 2:1 solution.

2.Prepare 14 standards doped into 2:1 CHCl3/MeOH solution in separate dram vial (1mL per sample). Concentration of each standard should be 10 pmol / 3 mL final. I recommend making a 100X stock of all 14 standards and add once to extraction mix as described above.

3. Add 3 mL of (2) to each 6 mL dram vial.

4. Measure tissue weights - place tissues in liquid N2, tare scale with empty microfuge tube, weight tissue and quickly put back in liquid N2. Prepare 15 mL dounce homogenizer (7 mL max volume) by rinsing in the following order: hexanes, acetone, and HPLC water. Adjust volume of cold HPLC water so that all tissues are normalized by weight to 10 mg/mL (e.g. 2 mL for 20 mg, and 1 mL for 10 mg of tissue so both samples are 10 mg/mL) and homogenize tissue immediately.

5. Immediately transfer 1 mL of homogenized tissue into 6 mL dram vial containing 3 mL of 2:1 CHCl3/MeOH containing doped standards and BHT.

6. Vortex samples to extract lipids and place on ice for 20 minutes.

7. Centrifuge sample vials at 2,000 x g for 5 minutes.

8. You will see that phases are separated and protein disk is at the interface.

9. Transfer bottom organic layer using Pasteur pipette into a new set of dram vials.

10. Add an additional 1.6 mL of 2:1 CHCl3/MeOH solution to each original vial and vortex.

11. Centrifuge vials at 2,000 x g for 5 minutes, re-extract, and combine organic layers.

12. Dry organic layers under nitrogen gas and re-suspend lipids in 120 µL 1:1 Isopropanol/MeOH